## Table 1
GST NO. 03KYHPS9618R1Z8 |  | Mob . 70090 91075
CP SYSTEM
Deals In
All Kinds of Water Chiller, Domestic & Commercial R.O. Plant , Water Purifier
water cooler , Automatic motor starter , sewrage treatment plant (stp)
Bank Details |  | Office - Main Thandewala Road
Name - Cp system |  | Sri Muktsar Sahib (152026) Punjab
Bank - indian bank
Account no. -7171732165 |  | Manufacturing place - Bathinda Road
IFSC Code - IDIB000M232 |  | Byeepass ,Sri Muktsar Sahib , punjab
Quotation for 2.5 Ton Water Chiller
To | DATE- 07-09-2026
Ashish Choudhary
Mumbai (Maharashtra)
India
Details are Given Below
SYSTEM | CP WATER CHILLER
CAPACITY | 2.5 TR
TYPE | AIR COOLED WATER CHILLER
FLUID | WATER
CIRCUIT | Single
COOLING CAPACITY | 7560 KCAL/HR
OUT LET TEM | 5 °C
IN LET TEMP | 30 °C
DELTA T | 25 °C (Outlet –Inlet Temp.)
REFRIGERANT | R -22/407
VOLTAGE / CONNECTED LOAD KW | 2.5 KW
CONTROL | Fully Automatic
USES | Water Processing
SAFETY INTERLOCKS OF CHILLERS
1) L.P/H.P SWITCHES
2) L.P/H.P GAUGES
3) FILTER DRYERS
4) SAFETY VALVES
5) SINGLE PHASE PREVENTER
6) WATER LEVEL CONTROLLER
7) COMPRESSOR WITH VALVES
8) PUMP HAS OVER LOAD PROTECTION
9) DIGITAL TEMPERATURE CONTROLLER
10) EXPENTION VALUE
Electrical Specification
1. POWER SUPPLY : 240V / 1 PH /2 Wire/50 HZ±1% AC
2. CHILLAR TOTAL POWER CONSUMPTION : 2.5 KW {Approx acc. To tem.)
ELECTRICALS PANEL BOX EQUIPPED WITH -:
Contactors.
Overload
VSB2/SPP
Voltage Scanner
Rotary Switch
Sensors
Automatic Panel
On/Off Switches
Description | Quantity
Model |  | CP-2.5
Chiller type |  | Instant / Circulation
Nominal Capacity (TR) |  | 2.5 Tr
Compressor Qty (Emerson) |  | 1 ps
Compressor capacity |  | 2.5 TR
Outdoor - Super sonic / Cp | 3 TR | 1 ps
connecting with copper tube |  | 2 PS
SS PHE Plate - Swap , Danfoss, Sigma , CP | 3 TR | 1 PS
Water Motor - Kirloskar |  | 1 PS
load connector - Schneider |  | 1 ps
Automatic Panel - subzero , Indicator , Rotary Switch |  | 1 ps
Stainless Steel Stand |  | 1 ps
wires and connector 3 mtr | Lot
PRICE | 95,000/-
Terms & conditions for warranty
1:- GST 18% Extra.
2:- Payment: 50% Advance 50 % On Delivery Time
3:- we need fully covered place for our product and if it is not
there than anything happens to machine we will not be responsible for that.
4:- Loading Boarding Extra ,
5:- IBT TANK & All Other things piping,Insolation, connection cable,
wil be provided by customer
6:- Transport and Packing charge as Per Actual.