## Sheet1
GST NO. 03KYHPS9618R1Z8 | Mob . 9915730338
CP SYSTEM
Deals In
All Kinds of Water Chiller, Domestic & Commercial R.O. Plant, Water Purifie, Water cooler, Automatic motor starter, sewrage treatment plant (stp)
Bank details | Office - Main Thandewala Road
Name - CP System | Sri Muktsar Sahib (152026) Punjab
Bank - Indian Bank
Account no. -7171732165 | Manufacturing place - Bathinda Road
IFSC Code - IDIB000M232 | Byeepass ,Sri Muktsar Sahib , punjab
QUOTATION FOR 5.5 TON WATER CHILLER SS BODY
DATE -22-09-2026
TO
HARI OM AQUA
Bhusawal, Jalhaon
Maharasjtra
SYSTEM. | Circulation Water Chiller
CAPACITY | 5.5 TR
TYPE | Air - Cooled Water Chiller
FLUID | WATER
CIRCUIT | SINGLE
COOLING CAPACITY | 16632KCAL/HR
OUT LET TEM | +5°C
IN LET TEMP. | +30°C
DELTA T. | +25°C {Outlet –Inlet Temp.}
REFRIGERANT | R -22/407C
CONTROL | FULLY AUTOMATIC
USES | WATER PROCESSING
SAFETY INTERLOCKS OF CHILLERS | ELECTRICALS MATERIAL ( SCHNEIDER )
1) L.P/H.P SWITCHES | Contactors.
2) L.P/H.P GAUGES | Overload
3) FILTER DRYERS | MCB.
4) SAFETY VALVES | VSB2/SPP
5) SINGLE PHASE PREVENTER | Voltage Scanner
6) WATER LEVEL CONTROLLER | Ampere meter
7) COMPRESSOR WITH VALVES | Frequency meter
8) PUMP HAS OVER LOAD PROTECTION | VPR
9) DIGITAL TEMPERATURE CONTROLLER | Wiring
10) EXPENTION VALUE | subzero
11) LIQUID GES PROTECTION HT | Sensors
12) VIBRATION OBSERVER | Indicators
On/Off Switches
ELECTRICAL SPECIFICATION
1. POWER SUPPLY : 220V / 1 PH/2 Wire/50 HZ±1% AC
2. CHILLER TOTAL POWER CONSUMPTION : 5.5 KW {Approx acc. To tem.)
ITEMS MAKES | QNT.
Body | SS
Compressor - imp. Emerson , Danfoss (5.5 TR) (Scroll) | 1 PS
Condenser Fine copper Tube With Finn ( 6 TR ) | 1 PS
PHE Plate Danfoss / Sigma /Cp (7.5 TR ) | 1 PS
Copper pipe and fitting Totaline | 1 PS
Expansion valve Danfoss/Sanhua | 1 PS
LP & HP Cut Out Switch Danfoss/Sanhua/Scheinider | 1 PS
Accumulator Dryall/Sanhua/ CP | 1 PS
Filter Dryer Danfoss/Emerson | 1 PS
{Glacier Liq.} | 4 Pressure Gauges
Hand shut Valve | 1 ps
Air Suction Axcel Fan | 2 ps
Digital Temp Controller Subzero | 1 ps
Electricals Items Schneider or ABB or LT | 1 Lot
Suction Line Filter | 1 Ps
1HP Recirculation Pump - Crompton / Kirloskar | 1 Ps
First Charge of R-22 Gas SRF/MEFRON/FREON /Godrej | 1 Lot
Cotrol Panel | 1 ps
Quantity | 1 Ps
Price | 245000
Terms & conditions for warranty
1:- GST 18% Extra.
2:- Payment: 50% Advance 50 % On Delivery Time ( no Credit )
3:- we need fully covered place for our product and if it is not
there than anything happens to machine we will not be responsible for that.
4:- Loading boarding extra
5:- All Other things piping,Insolation, connection cable, tank will be provided by customer.
6:- Transport and Packing charge as Per Actual.
7. Labour Charges , Gas & Transportation Not applicable in warrantt.
8. Rate Valid For Maximum 7 Days